## 80_papers
Tear Proteome and Mass Spectrometry References
PubMed search: not rigorously defined ("tear protein*" or "tear proteom*" AND "mass spec*")
Phil Wilmarth, OHSU, March-April 2022 (assessement of papers is my personal professional opinion)
First 60 papers:
Series | Counter | Authors | Title | Journal | DOI | PubMed | PubMed Link | First | Last | Year | PDF Name | Impression | Summary | Disease | No. Subjects | Collection Method | Sample Prep | Proteomics Design | Instrument | Data Analysis | No. Proteins |  | x
1 | 1 | Aass C, Norheim I, Eriksen EF, Børnick EC, Thorsby PM, Pepaj M | Comparative proteomic analysis of tear fluid in Graves' disease with and without orbitopathy | Clin Endocrinol (Oxf). 2016 Nov;85(5):805-812. | 10.1111/cen.13122 | 27256639 | 27256639 | Aass | Pepaj | 2016 | Aass_Pepaj_2016 | Poor | 21 samples in each of two groups (severe GO and moderate GO) were pooled and compared with dimethyl lableing. Not much insigth into DE candidates. | Graves' orbitopathy | 42; two groups of 21; samples from each group were pooled; two effective samples | Schirmer's strip, no anesthetic; 5 min open eye | Trypsin digest; 25 fractions; | Shotgun; Dimethyl labeling (forward and reversed of the two pooled samples) | ThermoLTQ-Orbitrap XL | PD 1.4; fully tryptic; UniProt; SEQUEST; no statistics; 2-fold cutoff | 1212 ID; 1136 quantifiable; 16 candidates
2 | 1 | Ananthi S, Chitra T, Bini R, Prajna NV, Lalitha P, Dharmalingam K | Comparative analysis of the tear protein profile in mycotic keratitis patients | Mol Vis. 2008 Mar 12;14:500-7. |  | 18385783 | 18385783 | Ananthi | Dharmalingam | 2008 | Ananthi_Dharmalingam_2008 | Poor | 2D-PAGE is not a good method for tears | Mycotic keratitis | three groups (16 infected [two different fungi] and 24 controls) were pooled | Capillary tubes; reflex tears | Acetone precipitation; typical 2D-PAGE steps; Coomassie or silver staining; in-gel trypsin digest; typical MALDI | 2D-PAGE; spot picking; MALDI | Axima CFR MALDI-TOF | Peptide mass fingerprinting(?) with Mascot; spot analysis with ImageMaster 2D | Maybe 63 spots identified; 46 quantified spots; a few candidates
3 | 1 | Ananthi S, Santhosh RS, Nila MV, Prajna NV, Lalitha P, Dharmalingam K | Comparative proteomics of human male and female tears by two-dimensional electrophoresis | Exp Eye Res. 2011 Jun;92(6):454-63. | 10.1016/j.exer.2011.03.002 | 21396361 | 21396361 | Ananthi | Dharmalingam | 2011 | Ananthi_Dharmalingam_2011 | Poor | 2D-PAGE is not a good method for tears | Male versus female | Two pooled groups (20 male and 20 female); n=3 technical replicates | Capillary tubes | Protein precipitation; typical 2D-PAGE steps; Coomassie or silver staining; in-gel trypsin digest; no LC details | 2D-PAGE; spot picking; LC-MS/MS | Bruker MicrOTOF Q | Mascot MS/MS; no decoys; ImageMaster spot analysis | 80 quantifiable spots; 43 candidates; 36 spots identified
4 | 1 | Aqrawi LA, Chen X, Jensen JL, Morthen MK, Thiede B, Utheim ØA, Palm Ø, Tashbayev B, Utheim TP, Galtung HK | Severity of clinical dry eye manifestations influences protein expression in tear fluid of patients with primary Sjögren's syndrome | PLoS One. 2018 Oct 12;13(10):e0205762. | 10.1371/journal.pone.0205762 | 30312344 | 30312344 | Aqrawi | Galtung | 2018 | Aqrawi_Galtung_2018 | Okay | Studies 44 and 16 use the same data; Single shot spectral counting is not very good proteome depth; many quantified proteins would not be reliable (counts too low) | Sjogren's syndrome | 11 pSS and 11 controls (subset) used in proteomics | Schirmer's strip; anesthetic? Both eyes; 5 min | Extractions from strips with PBS; acetone precipitation; in solution digest; single shot LC-MS/MS | Single shot label-free spectral counting | Thermo Q-Exactive | Mascot; Swiss-Prot human; tryptic; Scaffold, | 900 protein IDs; 197 candidates (all up in control)
5 | 1 | Aqrawi LA, Galtung HK, Vestad B, Øvstebø R, Thiede B, Rusthen S, Young A, Guerreiro EM, Utheim TP, Chen X, Utheim ØA, Palm Ø, Jensen JL | Identification of potential saliva and tear biomarkers in primary Sjögren's syndrome, utilising the extraction of extracellular vesicles and proteomics analysis | Arthritis ResTher. 2017 Jan 25;19(1):14. | 10.1186/s13075-017-1228-x | 28122643 | 28122643 | Aqrawi | Jensen | 2017 | Aqrawi_Jensen_2017 | Okay | Studies 44 and 16 use the same data; Single shot spectral counting is not very good proteome depth; many quantified proteins would not be reliable (counts too low); also EVs purified and analyzed | Sjogren's syndrome | 11 pSS and 11 controls (subset) used in proteomics | Schirmer's strip; anesthetic? Both eyes; 5 min | Extractions from strips with PBS; acetone precipitation; in solution digest; single shot LC-MS/MS | Single shot label-free spectral counting | Thermo Q-Exactive | Mascot; Swiss-Prot human; tryptic; Scaffold, | 900 protein IDs; 197 candidates (all up in control)
6 | 1 | Azkargorta M, Soria J, Ojeda C, Guzmán F, Acera A, Iloro I, Suárez T, Elortza F | Human Basal Tear Peptidome Characterization by CID, HCD, and ETD Followed by in Silico and in Vitro Analyses for Antimicrobial Peptide Identification | Proteome Res. 2015 Jun 5;14(6):2649-58. | 10.1021/acs.jproteome.5b00179 | 25946035 | 25946035 | Azkargorta | Elortza | 2015 | Azkargorta_Elortza_2015 | Poor | Looking for endogenous peptides; DB search not good for finding peptides; Mascot not good for no enzyme searches; results seem odd - some proteins have many peptides and high sequence coverage but few total proteins | NA | 4 pooled middle-age male; 5 pooled middle-age 3M and 2F | Capillary tubes; no anesthetic | Reduction and alkylation; C18 cleanup; standard RP LC; CID, HCD, and ETD done in 3 runs | Tear peptidome; used CID, HCD, and ETD | Thermo LTQ Orbitrap XL ETD | PD with Mascot; guessing no enzyme; a few mods; used very large full human UniProt DB | 234 peptides from 25 proteins
7 | 1 | Baldini C, Ferro F, Elefante E, Bombardieri S | Biomarkers for Sjögren's syndrome | Biomark Med. 2018 Mar;12(3):275-286. | 10.2217/bmm-2017-0297 | 29460647 | 29460647 | Baldini | Bombardieri | 2018 | Baldini_Bombardieri_2018 | NA | Review article | Primary Sjogren's sundrome | NA | NA | NA | NA | NA | NA | NA
8 | 1 | Boehm N, Funke S, Wiegand M, Wehrwein N, Pfeiffer N, Grus FH | Alterations in the tear proteome of dry eye patients--a matter of the clinical phenotype | Invest Ophthalmol Vis Sci. 2013 Mar 28;54(3):2385-92. | 10.1167/iovs.11-8751 | 23425692 | 23425692 | Boehm | Grus | 2013 | Boehm_Grus_2013 | Poor | SELDI patterns for disease classification; this is so sketchy | Dry Eye Disease | Discovery (n=49) and validation (n=120) studies; 39 controls; 40 aqueous-deficient dry eye; 40 lipid-deficient dry eye; 40 combined dry eye | Schirmer's strip; anesthetic?; 10mm of strip processed | Whole tear applied to surfaces using manufacturer's protocols | SELDI-TOF classifier | Some Ciphergen platform | Manufacturer software | Not sure
9 | 1 | Chen L, Zhou L, Chan EC, Neo J, Beuerman RW | Characterization of the human tear metabolome by LC-MS/MS | J Proteome Res. 2011 Oct 7;10(10):4876-82. | 10.1021/pr2004874 | 21800913 | 21800913 | Chen | Beuerman | 2011 | Chen_Beuerman_2011 | Do not know | Characterization of metabolites from normal tears | NA | 6 healthy controls | Schirmer's strip, no anesthetic | NA | Metabolomics study | ABI TripleTOF 5600 | NA | NA
10 | 1 | Cheung JK, Bian J, Sze YH, So YK, Chow WY, Woo C, Wong MT, Li KK, Lam TC | Human tear proteome dataset in response to daily wear of water gradient contact lens using SWATH-MS approach | Data Brief. 2021 May 12;36:107120. | 10.1016/j.dib.2021.107120 | 34095372 | 34095372 | Cheung | Lam | 2021 | Cheung_Lam_2021 | Poor (study design) | DIA dataset; poor study design with pooled samples | Response to water gradient contact lens | 15 contact wearers (3 time points) and 10 controls; samples randomly pooled to make 3 "samples" at each time point for the 2 groups | Schirmer's strip, no anesthetic | Elution for S-Trap digestion; single shot; SWATH DIA | SWATH DIA label-free quant | ABI TripleTOF 6600 | Library generation using ProteinPilot DDA; SWATH ID with PeakView; summed XIC for protein quant | 725
11 | 1 | Chu CY, Poon CW, Pong CF, Pang CP, Wang CC | Human normal tear proteome | Graefes Arch Clin Exp Ophthalmol. 2009 Jun;247(6):725-7. | 10.1007/s00417-008-0974-5 | 18953555 | 18953555 | Chu | Wang | 2009 | Chu_Wang_2009 | Not very useful | Letter to editor criticizing #6 | NA | NA | Capillary | NA | 2D-PAGE | NA | NA | NA
12 | 1 | Csősz É, Boross P, Csutak A, Berta A, Tóth F, Póliska S, Török Z, Tőzsér J | Quantitative analysis of proteins in the tear fluid of patients with diabetic retinopathy | J Proteomics. 2012 Apr 3;75(7):2196-204. | 10.1016/j.jprot.2012.01.019 | 22300579 | 22300579 | Csosz | Tozser | 2012 | Csosz_Tozser_2012 | Poor (low sensitivity) | Very few detected proteins; probably 50 iTRAQ kits; probably lots of missing data; not clear how good any statistical analysis would be | Diabetic retinopathy | 145 donors in 4 groups: control, normal, non proliferative, and proliferative; control was used as a common pooled standard; each kit had one sample from each of the three groups | Capillary | 2 microliter of tear for each sample; iTRAQ kit protocol; single LC run per kit; ABI recommended acquisition | iTRAQ 4-plex | ABI QTRAP 4000 | ProteinPilot; whole Swiss-Prot DB; tryptic, some mods; ratio to pooled control with some normalization (constant volume of tear were processed) | 53 proteins identified; 47 quantified
13 | 1 | D'Souza S, Petznick A, Tong L, Hall RC, Rosman M, Chan C, Koh SK, Beuerman RW, Zhou L, Mehta JS | Comparative analysis of two femtosecond LASIK platforms using iTRAQ quantitative proteomics | Invest Ophthalmol Vis Sci. 2014 May6;55(6):3396-402. | 10.1167/iovs.14-14113 | 24801511 | 24801511 | D_Souza | Mehta | 2014 | D_Souza_Mehta_2014 | Okay? | iTRAQ study of time course; one subject at 3 times in each kit; very few DE candidates; human IPI DB is too large; probably lots of missing data; ratio based analysis | post-LASIK dry eye | 22; 2 laser treatment devices; pre, 1 week, and 3 months post LASIK | Schirmer's strip, no anesthetic; 5 min closed eye | Extraction from strips; FASP digestion; iTRAQ kit reagents; single LC run in triplicate | iTRAQ 4-plex (3 used per kit); 22 kits in total? Sample ran in triplicate | ABI TripleTOF 5600 | ProteinPilot; human IPI DB; tryptic; setting for 5600; not sure how technical replicates were used in paired Wilcoxson testing | 1594 (908 with 2 pep/prot) IDed; 1229 (824 with 2 pep/prot) quantified
14 | 1 | D'Souza S, Tong L | Practical issues concerning tear protein assays in dry eye | Eye Vis (Lond). 2014 Nov 13;1:6. | 10.1186/s40662-014-0006-y | 26605353 | 26605353 | D_Souza | Tong | 2014 | D_Souza_Tong_2014 | NA | Review article; good review of some major tear proteins | NA | NA | NA | NA | NA | NA | NA | NA
15 | 1 | Das N, Menon NG, de Almeida LGN, Woods PS, Heynen ML, Jay GD, Caffery B, Jones L, Krawetz R, Schmidt TA, Dufour A | Proteomics Analysis of Tears and Saliva From Sjogren's Syndrome Patients | Front Pharmacol. 2021 Dec 7;12:787193. | 10.3389/fphar.2021.787193 | 34950038 | 34950038 | Das | Dufour | 2021 | Das_Dufour_2021 | Poor | Under-powered study for the tear part; data analysis seems inadequate; not clear what conclusions are | Sjogren's syndrome | Tears, tear washes, and saliva collected; subjects varied by biofluid type; samples from biobanks; 4 SS and 4 control samples were labeled; not clear how the 4 subjects were selected from larger cohort | Capillary tubes; no anesthetic; also tear washes | In-solution trypsin digest; single shot hi-res survey, HCD, IT MS2; | Di-methyl labeling shotgun quant | Thermo Fusion Lumos | MaxQuant di-methyl labeling; UniProt human reference proteome? Not sure how data is summarized from 4 L/H ratios per protein; I do not think any statistics were used | 195 (I think)
16 | 1 | de Souza GA, Godoy LM, Mann M | Identification of 491 proteins in the tear fluid proteome reveals a large number of proteases and protease inhibitors | Genome Biol. 2006;7(8):R72. | 10.1186/gb-2006-7-8-R72 | 16901338 | 16901338 | de_Souza | Mann | 2006 | de_Souza_Mann_2006 | Poor (dated) | LTQ-FT is old instrument with low sensitivity and slow scan rate; MS3 would slow scan rates down even more; ID only; more instrument time for in-gel explains ID differences | NA | N=1 | Capillary tubes; no anesthetic | Sample ran into 1D-PAGE and bands cut; in-gel trypsin digest; Or in solution typsin digest; 13 in-gel samples used MS2/MS3 method; 13 fractions for in-gel and one fraction for in-solution | Comparing in-gel to in-solution digests | Thermo LTQ-FT or LTQ-Orbitrap | Mascot; in-house MS2/MS3 analysis; human IPI database; maybe early MaxQuant used as well; separate decoy DB used for FDR estimate | 491 (300-ish might be more accurate)
17 | 1 | Dor M, Eperon S, Lalive PH, Guex-Crosier Y, Hamedani M, Salvisberg C, Turck N | Investigation of the global protein content from healthy human tears | Exp EyeRes. 2019 Feb;179:64-74. | 10.1016/j.exer.2018.10.006 | 30321513 | 30321513 | Dor | Turck | 2019 | Dor_Turck_2019 | Good | Pooled samples is okay for ID purposes; good summary of top 5-10 proteins; some good exploration of the tear proteome; Figure 2 and Tables 2 and 3 are good; | NA | 8 healthy controls (4M, 4F) used to create 3 pooled samples | Schirmer's strip, no aaesthetic; both eyes; 5 min | Pooled protein was in-solution digested; off-gel electrophoresis fractionation (12); gas-phase fractionation (4); 48 LC runs per pooled sample | Off-gel fractionation to increase depth | Thermo LTQ-Orbitrap Velos Pro | PD 2.2; human Swiss-Prot DB; SEQUEST?; tryptic; 2 pep/prot | 1337 Union; 608 intersection | PXD008702
18 | 1 | Green-Church KB, Nichols KK, Kleinholz NM, Zhang L, Nichols JJ | Investigation of the human tear film proteome using multiple proteomic approaches | Mol Vis. 2008 Mar 7;14:456-70. |  | 18334958 | 18334958 | Green-Church | Nichols | 2008 | Green-Church_Nichols_2008 | Poor | Many sample processing and method variations, tears were pooled, mostly n=1 experimetns | NA | 8 healthy controls (samples for gels were pooled to get enough protein) | Glass capillary (5 microliter) or Schirmer's strip (no anesthetic, 5 min, closed eye) | Some sample pooling, acetone precipitations, standard PAGE steps, in-gel trypsin digests or in-solution trypsin digests, not clear about fractions, top-10 MS/MS method; 7 SCX fractions for MudPIT | Compare 1D-PAGE, 2D-PAGE, and MudPIT | Thermo LTQ | Mascot, tryptic, DB not specified | 40-66 proteins in the 1D-PAGE, 58 spots picked for 2D-PAGE (31 protein IDs); 28 protein IDs in MudPIT (Mascot is bad for this)
19 | 1 | Guntermann A, Steinbach S, Serschnitzki B, Grotegut P, Reinehr S, Joachim SC, Schargus M, Marcus K, May C | Human tear fluid proteome dataset for usage as aspectral library and for protein modeling | Data Brief. 2019 Mar 7;23:103742. | 10.1016/j.dib.2019.103742 | 31372408 | 31372408 | Guntermann | May | 2019 | Guntermann_May_2019 | Okay? | The goal is a DDA library for use in DIA studies of tear, no results | NA | 20 healthy subjects, pooled | Schirmer's strip, no anesthetic; 5 min closed eye | Proteins extracted, amino acid analysis for protein conc., protein pooled, 1D-PAGE (4 lanes, 60 microgram ea), lane cut into 12 slices, in-gel trypsin digest, 150 min LC runs, HCD top-10 | 1D-PAGE, 12 gel slices per lane, in-gel trypsin digests, DDA library generation | Thermo Q-Exactive HF | NA (dataset only) | NA
20 | 1 | Hayakawa E, Landuyt B, Baggerman G, Cuyvers R, Lavigne R, Luyten W, Schoofs L | Peptidomic analysis of human reflex tear fluid | Peptides. 2013 Apr;42:63-9. | 10.1016/j.peptides.2012.11.018 | 23228955 | 23228955 | Hayakawa | Schoofs | 2013 | Hayakawa_Schoofs_2013 | Poor? | Not sure MALDI is the best for peptidome studies, not sure why stimulated tears were used (maybe they needed lots) | Peptidome of reflex tears | 4 healthy subjects; pooled | Capillary (100 microliters per subject) after onion vapor stimulation | Proteins precipitated with methanol, supernatant collected, offline RP separation into 60 1-min fractions, fractions spotted for MALDI |  | Bruker UltraFlex II | Bruker Flex Analysis software, Mascot, human Swiss-Prot DB, no enzyme search, some N-term mods | 30 peptide IDs (26 from PRP4 and 4 from PIGR)
21 | 1 | Ji YW, Kim HM, Ryu SY, Oh JW, Yeo A, Choi CY, Kim MJ, Song JS, Kim HS, Seo KY, Kim KP, Lee HK | Changes in Human Tear Proteome Following Topical Treatment of Dry Eye Disease: Cyclosporine A Versus Diquafosol Tetrasodium | InvestOphthalmol Vis Sci. 2019 Dec 2;60(15):5035-5044. | 10.1167/iovs.19-27872 | 31800960 | 31800960 | Ji | Lee | 2019 | Ji_Lee_2019 | Poor | Careful selection of subjects; other clinical factors measured, Proteomics is not good (many details not described), single shot label free only works for abundant proteins | Compare 2 dry eye treatments | 18 dry eye patients (9 treated with CsA and 9 treated with DQS), larger cohort but only 18 with sufficient tears, tears pooled for MS analysis | Polyester rod wicking collection without anesthetic | Protein extraction from rods not described, pooling poorly dscribed (either 3 pools of 3 subjects or 3 technical replicates of full pool), in-solution trypsin digest, single shot MS1 label free (LC gradient not described) | Single shot label free comparative study | Thermo Q-Exactive | MaxQuant, unspecified human UniProt DB, probably default parameters, LFQ quant, poor statistical analysis (no multiple testing corrections) | Maybe 600-ish
22 | 1 | Jung JH, Ji YW, Hwang HS, Oh JW, Kim HC, Lee HK, Kim KP | Proteomic analysis of human lacrimal and tear fluid in dry eye disease | Sci Rep. 2017 Oct17;7(1):13363. | 10.1038/s41598-017-13817-y | 29042648 | 29042648 | Jung | Kim | 2017 | Jung_Kim_2017 | Poor? | No actual replicates in the discovery phase study (pooled samples), MQ analysis might inflate ID numbers, no statistics | Dye eye disease | 4 pooled groups (5 subjects in each control or dry eye) for label free, 2 groups of 17 subjects each in MRM |  | Tears and lacrimal secretions collected with polyester rods (details in video?), in-solution trypsin digest, High pH RP (6 concatenated fractions), 130 min RP | Compare lacrimal gland secretion to whole tear using label-free and targeted proteomics | Thermo Q-Exactive | MaxQuant, unspecified human UniProt DB, probably default parameters, LFQ quant, match-between-runs, Perseus, missing values imputed, t-test (not enough replicates for testing), no multiple testing corrections; Skyline for MRM analysis | Union of IDs was 1165 for whole tear and 1448 for lacrimal secretion, 489 proteins seen in both types of samples; 62 proteins checked with MRMs
23 | 1 | Khazaei H, Khazaei D, Verma R, Ng J, Wilmarth PA, David LL, Rosenbaum JT | The potential of tear proteomics for diagnosis and management of orbital inflammatory disorders including Graves' ophthalmopathy | Exp Eye Res. 2021 Dec;213:108813. | 10.1016/j.exer.2021.108813 | 34742692 | 34742692 | Khazaei | Rosenbaum | 2021 | Khazaei_Rosenbaum_2021 | NA | Review article, tear MS studies, Supplemental bibliography useful | NA | NA | NA | NA | NA | NA | NA | NA
24 | 1 | Kim HJ, Kim PK, Yoo HS, Kim CW | Comparison of tear proteins between healthy and early diabetic retinopathy patients | Clin Biochem. 2012 Jan;45(1-2):60-7. | 10.1016/j.clinbiochem.2011.10.006 | 22040812 | 22040812 | Kim | Kim | 2012 | Kim_Kim_2012 | Poor? | Not a bad 2D-PAGE study, 2D-PAGE not really a good method | Diabetic retinopathy | 10 diabetic, 17 with diabetic retinopathy, 14 controls | Polyester thread wicks | Standard 2D-PAGE prep, silver staining, picked spots in-gel trypsin digest, LC-MS/MS peptide ID | 2D-PAGE | Water Micromass QTOF | ImageMaster 2D Elite software, one-way ANOVA of spot volumes; Mass Lynx and Mascot, NCBI nr DB | 20 DE spots were identified
25 | 1 | Kishazi E, Dor M, Eperon S, Oberic A, Hamedani M, Turck N | Thyroid-associated orbitopathy and tears: A proteomics study | J Proteomics. 2018 Jan6;170:110-116. | 10.1016/j.jprot.2017.09.001 | 28887209 | 28887209 | Kishazi | Turck | 2018 | Kishazi_Turck_2018 | Poor | Can't tell what samples were labeled in the two 6-plexes | Thyroid-Associated Orbitopathy | 28 TAO patients and 25 controls, two 6-plex TMT were done, no details on what the 6 samples in each group were | Schirmer's strip, both eyes, no anesthetic; 3 min, closed eye? | In solution digest after protein extraction, TMT 6-plex labeling, off-gel fractionation (12 fractions), RP, 4 gas-phase fractions, combined CID (IT)/HCD (Orbi) |  | Thermo LTQ Orbitrap Velos | Proteome Discoverer, Mascot, human Swiss-Prot, narrow tolerance, tryptic, quant with unique peptides, 2 pep/prot, total peptide normalization? Ratio based analysis (statistics are a bit odd) | 712 union (646 and 442), 376 intersection, top 5 up and top 5 down selected for follow up | PXD006871
26 | 1 | Kuo MT, Fang PC, Kuo SF, Chen A, Huang YT | Tear Proteomics Study of Dry Eye Disease: Which Eye Do You Adopt as the Representative Eye for the Study? | Int JMol Sci. 2021 Jan 3;22(1):422. | 10.3390/ijms22010422 | 33401599 | 33401599 | Kuo | Huang | 2021 | Kuo_Huang_2021 | Okay? (proteomics is poor) | Should define OS and OD, mostly comparing left to right eyes via variety of clinical parameters, there was quantification of a few proteins (peptides?) between subjects/eyes | Dry eye disease (comparing left and right eyes) | 23 DED females, | Tear samples colleced either with standard flush method or 20 microliters with pipette, no anesthetic | 5 microgram tear protein in-solution digested, single shot LC, probably manufacturer's instrument settings for peptide IDs, centroiding with Bruker software |  | Bruker HCT Ultra ETDII Ion Trap | Mascot, human Swiss-Prot, minimal mods, fully tryptic, not details on protein inference, no details on what was quantified (peptides or proteins) or how things were normalized/compared (maybe normed to lactoferrin levels) | Not clear. Might be 6 or 19 compared between samples. Not sure what the ID numbers were
27 | 1 | Leonardi A, Palmigiano A, Mazzola EA, Messina A, Milazzo EM, Bortolotti M, Garozzo D | Identification of human tear fluid biomarkers in vernal keratoconjunctivitis using iTRAQ quantitative proteomics | Allergy. 2014 Feb;69(2):254-60. | 10.1111/all.12331 | 24329893 | 24329893 | Leonardi | Garozzo | 2014 | Leonardi_Garozzo_2014 | Poor | Not much proteome depth, ratio-based study design is not good | Vernal keratoconjunctivitis (VKC) | 10 active KVC and 10 control subjects; 8 KVC subjects undergoing treatments? | Capillary, 10-20 microliters tear collected | 1D-PAGE bands in-gel digested, in-solution digest with trypsin, RP separation of peptides, fractions collected, MALDI spotting of fractions | iTRAQ labeling, 5 4-plex labelings (2 control and 2 KVC per plex), ratio design gets ugly, single 8-plex iTRAQ used for the 8 KVC samples with treatments, LC-MALDI (fractions collected, spotted with matrix) | ABI MALDI TOF/TOF 4800 | ABI ProteinPilot suite (no parameters listed) | 78 in the 4-plex runs (maybe all runs?), 13 quantified in 4-plex runs, 11 quantified in 8-plex run
28 | 1 | Li B, Sheng M, Li J, Yan G, Lin A, Li M, Wang W, Chen Y | Tear proteomic analysis of Sjögren syndrome patients with dry eye syndrome by two-dimensional-nano-liquid chromatography coupled with tandem mass spectrometry | Sci Rep. 2014 Aug 27;4:5772. | 10.1038/srep05772 | 25159733 | 25159733 | Li | Chen | 2014 | Li_Chen_2014 | Okay? | Not very deep proteomes, pooled samples maybe okay for ID, IPI FASTA is too redundant, no statistics, keratins not excluded | Sjogren's syndrome | 3 groups (SS, dry eye, control), 8 subjects per group, subjects pooled | Schirmer's strip, no anesthetic; 5 min closed eye | Protein extraction from strips, acetone precipitation, 12.5 microgram protein per pooled group in-solution digested, SCX, RP, top-10 CID IT method | Proteome characterization with 2D-LC-MS/MS | Thermo LTQ Orbitrap XL | SEQUEST, IPI human FASTA, target/decoy, TPP for ID, SpC for quant | 435 total IDs
29 | 1 | Li N, Wang N, Zheng J, Liu XM, Lever OW, Erickson PM, Li L | Characterization of human tear proteome using multiple proteomic analysis techniques | J ProteomeRes. 2005 Nov-Dec;4(6):2052-61. | 10.1021/pr0501970 | 16335950 | 16335950 | Li | Li | 2005 | Li_Li_2005 | Poor | Dated, methods not really approriate for the dynamic range of tear proteome or for larger number of samples | NA |  | Capillary tubes, no anesthetic, open eye, less than 1 min times | One microliter of protein for typical 1D-PAGE protocols, cut bands in-gel digested, MALDI; in solution digests used 5 microliters of tear, single shot with LCQ Deca or LC-MALDI | Comparison of 1D-PAGE and in-solution digests for charaterizing tears | Bruker Reflex III (MALDI) or Thermo LCQ Deca IT (ESI) | Mascot for either MALDI or LC-MS/MS, Swiss-Prot or NCBInr databases, manual validation | 55
30 | 1 | Manicam C, Perumal N, Wasielica-Poslednik J, Ngongkole YC, Tschäbunin A, Sievers M, Lisch W, Pfeiffer N, Grus FH, Gericke A | Proteomics Unravels the Regulatory Mechanisms in Human Tears Following Acute Renouncement of Contact Lens Use: A Comparison between Hard and Soft Lenses | Sci Rep. 2018 Aug1;8(1):11526. | 10.1038/s41598-018-30032-5 | 30069058 | 30069058 | Manicam | Gericke | 2018 | Manicam_Gericke_2018 | Poor? | Not enough fractionation for tears, pooling of samples and running technical replicates invalidates statistical testing | Effects of hard and soft contact lenses | 8 hard CL, 9 soft CL, and 11 control subjects (samples were pooled for MS analysis - 3 groups done with 3 technical replicates ea) | Schirmer's strips, both eyes, w/ anesthetic, 5 min, closed eye | Proteins extracted from strips, 1D-PAGE, bands cut (10 per lane), in-gel digest w/ trypsin, LC-MS/MS top-5 CID IT | Compare two types of contacts (before and after wearing) to controls using label free MS | Thermo LTQ Orbitrap XL | MaxQuant LFQ, UniProt human DB (probably large), tryptic, MBR? Perseus stats, missing values imputed, t-test, no multiple testing corrections? | 230 total proteins, about 150 common between groups
31 | 1 | Markoulli M, Papas E, Cole N, Holden B | Differential gel electrophoresis of the tear proteome | Optom Vis Sci. 2012 Jun;89(6):E875-83. | 10.1097/OPX.0b013e318255dc46 | 22561205 | 22561205 | Markoulli | Holden | 2012 | Markoulli_Holden_2012 | Poor? | 2D-DIGE does not really work, 18 gels to match, gel-to-gel reproducibility was so-so, Few DE proteins and fold-changes seem to large | Extended wear contact use | 9 subjects at T=0 and T=30-days, collections at waking time and at mid day (4 collections per subject) | Flushed tear collection, both eyes collected and combined, same clinician did the collections | Manufacturer protocols for 2D-DIGE, picked spots in-gel digested with trypsin, LC-MS/MS protein IDs, Mascot, NCBI nr human DB | 2D-DIGE, pooled standard in Cy2, 2 samples (Cy3 and Cy5) per gel, samples randomized | Thermo LTQ-FT | Progenesis spot analysis, gels matched with pooled standard, sample intensities ratioed to standard, DE spots were picked for ID from Coomassie stained gels | Small number of DE spot identified (fold-changes seem too large)
32 | 1 | Matheis N, Okrojek R, Grus FH, Kahaly GJ | Proteomics of tear fluid in thyroid-associated orbitopathy | Thyroid. 2012 Oct;22(10):1039-45. | 10.1089/thy.2012.0119 | 22873942 | 22873942 | Matheis | Kahaly | 2012 | Matheis_Kahaly_2012 | Poor | SELDI patterns for disease classification; this is so sketchy | Thyroid-Associated Orbitopathy | 45 TAO patients and 15 controls | Schirmer's strips, anesthetic | Whole tear applied to surfaces using manufacturer's protocols | SELDI-TOF classifier | Some Ciphergen platform | Manufacturer software for peptides that discriminate between groups, separate methods to identify peptides/proteins (not a direct connection) | Not sure maybe it is more about the ions that spearate groups?), not very biological
33 | 1 | Nättinen J, Jylhä A, Aapola U, Parkkari M, Mikhailova A, Beuerman RW, Uusitalo H | Patient stratification in clinical glaucoma trials using the individual tear proteome | Sci Rep. 2018 Aug 13;8(1):12038. | 10.1038/s41598-018-30369-x | 30104599 | 30104599 | Nattinen | Uusitalo | 2018 | Nattinen_Uusitalo_2018 | Okay? | Study design and analysis not well matched, Schirmer's length not considedred, the 3 patient groups might be high flow versus low flow (Fig. 2), repeated measures study design | Glaucoma treatments (with and without presavatives in drugs) | 28 total subjects with glaucoma, switch to presavative-free drug at T=0, tears collected at 5 time points | Schirmer's strips, right eyes, no anesthetic, 5 min, closed eye? | Extraction into buffer, in-solution digest with trypsin, single shot LC, SWATH DIA | DIA SWATH quantitative comparison | ABI TripleTOF 5600+ | ABI ProteinPilot, human Swiss-Prot DB, spectral library search, iRT peptides, some protein quant summary, manual inspection of peptides, technical replicates used, clustering based analysis looks oddly done (time course not used) | 1439 (union from 270 LC runs), 950 potentially quantifiable, 785 proteins quantified in all subjects | no data sharing (patent conflict)
34 | 1 | Nättinen J, Jylhä A, Aapola U, Mäkinen P, Beuerman R, Pietilä J, Vaajanen A, Uusitalo H | Age-associated changes in human tear proteome | Clin Proteomics. 2019 Mar 30;16:11. | 10.1186/s12014-019-9233-5 | 30976209 | 30976209 | Nattinen | Uusitalo | 2019 | Nattinen_Uusitalo_2019 | Good? | Large cohort of normal tears from subjects from 18 to 83 years age, probably many ways to analyze this data | Aging changes in normal tears | 115 subjects | Capillaries, open eye, no anesthetic, more than 5 microgram protein required | Acetone precipitation, filter aided trypsin digest, single shot LC, SWATH wih triple TOF | DIA SWATH quantitative comparison | ABI TripleTOF 5600+ | ProteinPilot, DDAspectral library, human Swiss-Prot DB, distinct peptides for quant, RT calibrations, proteins summarized with 5 transition areas per peptide from up to 15 peptides per protein, manual inspections, technical replicates used for QC and combined by geometric means, median protein abundance normalization between subjects | 1497 total, 849 were quantifiable
35 | 1 | Pannebaker C, Chandler HL, Nichols JJ | Tear proteomics in keratoconus | Mol Vis. 2010 Oct 2;16:1949-57. |  | 21031023 | 21031023 | Pannebaker | Nichols | 2010 | Pannebaker_Nichols_2010 | Poor | Not a very good 1D-PAGE study | Keratoconus | 44 subjects: normal gas permeable (GP) contact group (n=20 - 6 pooled smaples analyzed), disease using GP contacts (n=18, 6 pooled samples ran), disease no contacts (n=6, 2 pooled samples ran) | Capillaries, open eye, no anesthetic, disease used worse eye, controls used right eye | 1D-PAGE gels ran, samples pooled before gels, only a few bands in-gel digested | 1D-PAGE separation, differentially stained bands excised and anayzed | Thermo LTQ | Mascot, pretty generic | Proteomics results were "curious"
36 | 1 | Perumal N, Funke S, Wolters D, Pfeiffer N, Grus FH | Characterization of human reflex tear proteome reveals high expression of lacrimal proline-rich protein 4 (PRR4) | Proteomics. 2015 Oct;15(19):3370-81. | 10.1002/pmic.201400239 | 26173177 | 26173177 | Perumal | Grus | 2015 | Perumal_Grus_2015 | Poor | Too many different, low proteome depth methods used, Proline rich protein 4 major component of reflex tears, not sure if normalizations to compare these samples was done okay | Reflex tear proteome characterization | 10 basal and 10 reflex subjects, tears collected 3 times, tears pooled into 3 final samples | Capillaries, reflex tears stimulated with onion vapor (initial tear volume discarded) | Complicated - gel preps differ from bottom up LC methods, subjects and pooling also varied | Multiple gel and LC methods, all low sensitivity | Thermo LTQ Orbitrap XL | Some combination of methods, MaxQuant for label free, PD/Mascot for inclusion list DDA, not clear how gel spots were Ided | 78
37 | 1 | Perumal N, Funke S, Pfeiffer N, Grus FH | Proteomics analysis of human tears from aqueous-deficient and evaporative dry eye patients | Sci Rep. 2016 Jul20;6:29629. | 10.1038/srep29629 | 27436115 | 27436115 | Perumal | Grus | 2016 | Perumal_Grus_2016 | Poor? | Pooling of samples is not good. A proteome depth of 200 proteins is not good. 1D-PAGE separation not great approach | Dry Eye Disease, aqueous-deficient and evaporative | 80 subjects in aqueous-deficient (10M, 10F), evaporative (10M, 10F), combination (10M, 10F), and controls (10M, 10F) groups, tears in each group were pooled (3 technical replicates of the pool were run) | Schirmer's strip, anesthetic | Standard extraction from strips, 1D-PAGE, 10 bands excised, in-gel digest with trypsin, LC-MS/MS | Pooled samples, gel lanes, lanes cut into 10 bands, in-gel digest, MaxQuant LFQ, some sort of targeted inclusion list for validation | Thermo LTQ Orbitrap XL | MaxQuant and Perseus, UniProt human DB, default setting, some proteome characterization (top 20 proteins make up 95% of intensity) | about 200
38 | 1 | Pieragostino D, Agnifili L, Fasanella V, D'Aguanno S, Mastropasqua R, DiIlio C, Sacchetta P, Urbani A, Del Boccio P | Shotgun proteomics reveals specific modulated protein patterns in tears of patients with primary open angle glaucoma naïve to therapy | Mol Biosyst. 2013 Jun;9(6):1108-16. | 10.1039/c3mb25463a | 23580065 | 23580065 | Pieragostino | Del_Boccio | 2013 | Pieragostino_Del_Boccio_2013 | Poor | Pooled samples, technical replicates (no statistics), low sensitivity | Primary open angle glaucoma (POAG) [before treatments] | 9 POAG patients and 10 matched controls, tears pooled for each group (50 micrograms per pool) | Schirmer's strips, one eye, 5 min closed eye, no anesthetic | Protein extraction, acetone precipitation, in solution trypsin digest, nanoAquity LC, 150 min single shot, Waters MSe acquisition, pooled samples ran in triplicate (not sure exact type of replicate) |  | Waters Q-TOF Premier | Waters ProteinLynx for Mse (DIA-like), human Swiss-Prot, tryptic, minimal mods, 3-4% FDR using decoy DB, 2 peptides/protein, protein quant is a top-3 intensity scale | about 100 IDs (2 keratins, 18 Ig), 27 DE candidates (!?)
39 | 1 | Posa A, Bräuer L, Schicht M, Garreis F, Beileke S, Paulsen F | Schirmer strip vs. capillary tube method: non-invasive methods of obtaining proteins from tear fluid | Ann Anat. 2013 Mar;195(2):137-42. | 10.1016/j.aanat.2012.10.001 | 23357333 | 23357333 | Posa | Paulsen | 2013 | Posa_Paulsen_2013 | Good (for collection method) | Very good Introduction section, capillary induces fear, Schirmer's strips were easy to use | NA, comparing collection methods | 9 healthy subjects, right eye Schirmer's and left eye capillary | Platic capillary versus Schirmer's strip, one eye for each, controlled collection conditions | Tears removed from Schirmer's via centrfugation, capillary tears pushed out with air, 1D-PAGE separation | NA | NA | NA | NA
40 | 1 | Saijyothi AV, Angayarkanni N, Syama C, Utpal T, Shweta A, Bhaskar S, GeethaI K, Vinay PS, Thennarasu M, Sivakumar RM, Prema P | Two dimensional electrophoretic analysis of human tears: collection method in dry eye syndrome | Electrophoresis. 2010 Oct;31(20):3420-7. | 10.1002/elps.201000271 | 20882555 | 20882555 | Saijyothi | Prema | 2010 | Saijyothi_Prema_2010 | Poor? | Typical 2D-PAGE study, capillary and Schirmer's collection seemed similar | Dry eye disease, mostly collection method comparison | 9 healthy subjects for collection comparison; 9 DES subjects with Schirmer's | Schirmer's strip or capillary, 5 min open eye collection with no anesthetic | Protein extraction, standard 2D-PAGE prep, spots that differed between DES and control were excised, in-gel digested, and IDed by LC-MS/MS, 60 min Q-Star | 2D-PAGE, image analysis comparisons | ABI Q-STAR | Protein Pilot (no details) | Not stated, a few DE spots excised, PRP4 reduced in DES
41 | 1 | Seifert K, Gandia NC, Wilburn JK, Bower KS, Sia RK, Ryan DS, Deaton ML, Still KM, Vassilev VC, Laurie GW, McKown RL | Tear lacritin levels by age, sex, and time of day in healthy adults | Invest Ophthalmol Vis Sci. 2012 Sep25;53(10):6610-6. | 10.1167/iovs.11-8729 | 22918641 | 22918641 | Seifert | McKown | 2012 | Seifert_McKown_2012 | ??? | Measures lacritin levels only | Biological variability (age, sex, collection time) in normal tears |  | Polyester rod, closed eye, 2 min, anesthetic | ELISA assay | NA | NA | NA | NA
42 | 1 | Soria J, Durán JA, Etxebarria J, Merayo J, González N, Reigada R, García I, Acera A, Suárez T | Tear proteome and protein network analyses reveal a novel pentamarker panel for tear film characterization in dry eye and meibomian gland dysfunction | J Proteomics. 2013 Jan 14;78:94-112. | 10.1016/j.jprot.2012.11.017 | 23201116 | 23201116 | Soria | Suarez | 2013 | Soria_Suarez_2013 | Poor? | 2D-PAGE is uphill into a headwind in both directions | Dry eye and meibomian gland dysfunction | 144 total: 63 DE, 38 MGD, 43 control, 2D-PAGE done on 16 subjects from each group with pairs pooled (8 gels per group) | No anesthetic, polyvinyl acetate surgical sponges, some with glass capillary | After protein extraction from sponges, Ig and albumin were delepeted, standard 2D-PAGE prep, pool from all subjects run in higher load on one gel for DE spot picking and ID with MALDI-TOF/TOF | 2D-PAGE, ID of differential spots | Bruker Ultraflex TOF/TOF | Mascot | NA
43 | 1 | Soria J, Acera A, Merayo-LLoves J, Durán JA, González N, Rodriguez S, Bistolas N, Schumacher S, Bier FF, Peter H, Stöcklein W, Suárez T | Tear proteome analysis in ocular surface diseases using label-free LC-MS/MS and multiplexed-microarray biomarker validation | Sci Rep. 2017 Dec 12;7(1):17478. | 10.1038/s41598-017-17536-2 | 29234088 | 29234088 | Soria | Suarez | 2017 | Soria_Suarez_2017 | Poor | Single shot spectral counting does not work for tears, Waters QTOF not a great SpC platform, quantitation too marginal to be useful, DE candidates are major tear proteins (dry eye probably reduces major tear proteins and affects normalization) | Dry eye and meibomian gland dysfunction | 37 subjects for MS, 33 for MA | Glass capillary, no anesthetic | Rapigest in solution trypsin digest, 4 microgram protein, nanoaquity LC, Waters Synapt MS, 120 min RP gradient, top-3 method | Label-free spectral counting | Waters SYNAPT HDMS | Mascot, human Swiss-Prot, APEX semi-quantitative analysis with TPP, maybe 1% FDR filtering, removal of proteins with majority missing data, missing imputation, total SpC normalization | 603 identifications, only 135 passing missing data filtering
44 | 1 | Srinivasan S, Thangavelu M, Zhang L, Green KB, Nichols KK | iTRAQ quantitative proteomics in the analysis of tears in dry eye patients | InvestOphthalmol Vis Sci. 2012 Jul 31;53(8):5052-9. | 10.1167/iovs.11-9022 | 22736608 | 22736608 | Srinivasan | Nichols | 2012 | Srinivasan_Nichols_2012 | Poor? | iTRAQ and TMT are different labels, not sure instrument acquisition would give good reporter ions, unclear how data was processed (specific details missing), low sensitivity and poor proteome depth | Dry eye disease | 24 in 4 groups (n=6 in each), controls and 3 stages of DE | Schirmer's strips (controls has longer wet lengths compared to DE groups), 5 min closed eye, no anesthetic | Proteins extracted from strips in buffer, some protein pooled for internal standard channel, in-solution trypsin digest, TMT peptide labeling, 126 channel was the standard, single shot, 140-min gradient, how the instrument was operated to get sequence information AND generate reporter ions is unclear (must be MS2-based reporter ions) | iTRAQ isobaric labeling (it is actually TMT reagents), 126 channel for pooled internal standard, ratio-based comparisons | Thermo LTQ Orbitrap XL | Mascot for IDs, not clear how reporter ions were measured, ratios to 126 standard likely done, not clear what normalizations were done, not clear what software was used for TMT analysis | 386 union (about 163 per plex), maybe 90 proteins were quantifiable (seen in all samples)
45 | 1 | Tomazic PV, Liesinger L, Pucher B, Thallinger GG, Leitner A, Spoerk S, Gerstenberger C, Lang-Loidolt D, Birner-Gruenberger R | Comparison of tear proteome in allergic rhino conjunctivitis patients and controls with respect to pollen season | Allergy. 2018 Jul;73(7):1541-1543. | 10.1111/all.13444 | 29574764 | 29574764 | Tomazic | Birner-Gruenberger | 2018 | Tomazic_Birner-Gruenberger_2018 | Poor? | Single shot label-free not great for tears, LTQ-FT is slow and lower sensitivity | Pollen allergies | 21 (10 allergy and 11 controls) | Glass capillary (details in Ref. 10?) | In-solution trypsin digest, single shot LC, CID top-5 method | Label-free (MS1) quant | Thermo LTQ-FT | MaxQuant, human Swiss-Prot DB, default parameters? LFQ for label-free quant, Perseus, missing data filter and then missing imputation, t-test, BH adjustment | 90 | PXD006533
46 | 1 | Tong L, Zhou L, Beuerman RW, Zhao SZ, Li XR | Association of tear proteins with Meibomian gland disease and dry eye symptoms | Br J Ophthalmol. 2011 Jun;95(6):848-52. | 10.1136/bjo.2010.185256 | 21030416 | 21030416 | Tong | Li | 2011 | Tong_Li_2011 | Poor | Q-STAR has low sensitivity, not clear how many proteins were detected/quantifiable | Meibomian gland dysfunction and dry eye | 18 controls (pooled for channel 114) and 24 DE in three groups (severity) | Schirmer's strip (no details) | Proteins extracted in buffer, trypsin digest using iTRAQ protocol, SCX/RP 10-fraction separation, Q-STAR MS/MS | iTRAQ isobaric labeling | ABI Q-STAR | ABI ProQUANT software, human IPI DB, control pool was channel 114, one of each DE group in rest of channels (8 plexes in total), analysis of correlation between 9 protein levels and clinical factors | 9?
47 | 1 | Tong L, Zhou XY, Jylha A, Aapola U, Liu DN, Koh SK, Tian D, Quah J, Uusitalo H, Beuerman RW, Zhou L | Quantitation of 47 human tear proteins using high resolution multiple reaction monitoring (HR-MRM) based-mass spectrometry | JProteomics. 2015 Feb 6;115:36-48. | 10.1016/j.jprot.2014.12.002 | 25529431 | 25529431 | Tong | Zhou | 2015 | Tong_Zhou_2015 | Good? (abundances of 47 target proteins) | MRM assay development, the list of 47 proteins might be useful (manually selected for eye disease relevance), Figure 2 is interesting | NA | 1000 subjects (assays developed with pooled tears), validation of 8 proteins in 10 subjects |  | proteins extracted from Schirmer's strips and pooled, FASP trypsin digestion, C18 desalting, single shot LC Q-TOF, peptide ID experiments and HR-MRM experiments | MRM assays of 47 proteins (1 microliter of tear and 1 hour) | ABI TripleTOF 5600+ | ABI ProteinPilot for ID, other ABI software for MRM assays | 747 union of IDs (from 3 technical replicates), 441 proteins in intersection, 47 MRM assays
48 | 1 | Torok Z, Peto T, Csosz E, Tukacs E, Molnar AM, Berta A, Tozser J, Hajdu A, Nagy V, Domokos B, Csutak A | Combined Methods for Diabetic Retinopathy Screening, Using Retina Photographs and Tear Fluid Proteomics Biomarkers | J Diabetes Res. 2015;2015:623619. | 10.1155/2015/623619 | 26221613 | 26221613 | Torok | Tan | 2015 | Torok_Tan_2015 | ??? | Building a DR classifier using image analysis and proteomics results | Diabetic retinopathy | 52 diabetic subjects, 39 had evidence of DR | Glass capillary | Insufficient details for proteomics work | NA | ??? | No specific details | ???
49 | 1 | Tsai PS, Evans JE, Green KM, Sullivan RM, Schaumberg DA, Richards SM, Dana MR, Sullivan DA | Proteomic analysis of human meibomian gland secretions | Br J Ophthalmol. 2006 Mar;90(3):372-7. | 10.1136/bjo.2005.080846 | 16488965 | 16488965 | Tsai | Sullivan | 2006 | Tsai_Sullivan_2006 | Poor? | Early work, methods for protein IDs have changed a lot | Meibomian galnd secretion characterization | Seven healthy subjects? | Samples collected from lower eyelids | In-solution trypsin digest, single shot LC (some 40-min, some 125-min, one 140-min gradient), CID top-3 method | Shotgun protein ID | Thermo LTQ | Bioworks/SEQEUST ID, human NCBI DB, target/decoy method, maual data filtering (stringent and broad); also some 1D-PAGE gel band analysis with a LCQ Deca XP | maybe 90-ish (includes many keratins that are the most abundant proteins)
50 | 1 | Tsai LH, Wei RL | Analysis of Graves' ophthalmopathy patients' tear protein spectrum | Chin Med J (Engl). 2013 Dec;126(23):4493-8. | 10.3760/cma.j.issn.0366-6999.20131644 | 24286413 | 24286413 | Tsai | Wei | 2013 | Tsai_Wei_2013 |  | Could not access article
51 | 1 | Tse JSH, Cheung JKW, Wong GTK, Lam TC, Choi KY, So KHY, Lam CDM, Sze AYH, Wong ACK, Yee GMC, Chan HHL | Integrating Clinical Data and Tear Proteomics to Assess Efficacy, Ocular Surface Status, and Biomarker Response After Orthokeratology Lens Wear | Transl Vis Sci Technol. 2021 Sep 1;10(11):18. | 10.1167/tvst.10.11.18 | 34559185 | 34559185 | Tse | Chan | 2021 | Tse_Chan_2021 | Okay? | Few changes with contact wearing over time, experimental design with sample pooling and technical replicates makes statistical analysis less confident | Evaluaiton of orthokeratology lens wear (after 1 month and 3 months) | 12 in contact group, 12 in control group; 4-subject tear pooling, 3 final pooled samples per group, 1-month | Disposable capillary (about 10 microliters of tear), no details about anesthetic use | In-solution trypsin digest, single shot analysis, 3-hr RP LC | DIA SWATH, peptide library for DIA matching | ABI triple TOF 6600 | ABI software for library analysis and building, ABI software for SWATH analysis and quant | 519 | PASS01367 (Peptide Atlas)
52 | 1 | Versura P, Nanni P, Bavelloni A, Blalock WL, Piazzi M, Roda A, Campos EC | Tear proteomics in evaporative dry eye disease | Eye (Lond). 2010 Aug;24(8):1396-402. | 10.1038/eye.2010.7 | 20150925 | 20150925 | Versura | Campos | 2010 | Versura_Campos_2010 | Poor | Few proteins quantified from 1D gel band densitometry | Evaporative dry eye disease | 90 in EDE group, 30 in controls | Micropipette collection after 30-s open eye, no anesthetic? | 1D-PAGE prep, some samples also with 2D-PAGE, in-gel digestion of 1D bands of interest (not clear how many subjects were analyzed), LC-MS/MS for band IDs | 1D-PAGE | Waters micro QTOF | Mascot, human Swiss-Prot DB | 13
53 | 1 | von Thun Und Hohenstein-Blaul N, Funke S, Grus FH | Tears as a source of biomarkers for ocular and systemic diseases | Exp Eye Res. 2013 Dec;117:126-37. | 10.1016/j.exer.2013.07.015 | 23880526 | 23880526 | von_Thun_Und_Hohenstein-Blaul | Grus | 2013 | von_Thun_Und_Hohenstein-Blaul_Grus_2013 | NA | Review article, lengthy but dated | NA | NA | NA | NA | NA | NA | NA | NA
54 | 1 | Willcox MD | Tear film, contact lenses and tear biomarkers | Clin Exp Optom.2019 Jul;102(4):350-363. | 10.1111/cxo.12918 | 31119796 | 31119796 | Willcox |  | 2019 | Willcox_2019 | NA | Award lecture article (like a review), some good background information on tears | NA | NA | NA | NA | NA | NA | NA | NA
55 | 1 | Yenihayat F, Altıntaş Ö, Kasap M, Akpınar G, Güzel N, Çelik OS | Comparative proteome analysis of the tear samples in patients with low-grade keratoconus | Int Ophthalmol. 2018 Oct;38(5):1895-1905. | 10.1007/s10792-017-0672-6 | 28785876 | 28785876 | Yenihayat | Celik | 2018 | Yenihayat_Celik_2018 | Poor? | Pooled samples used to get enough protein | Low-grade keratoconus | 17 KC group, 16 controls; groups pooled for one 2D gel, standard channel was pooled from all | Glass capillary, no anasthetic | 2D-DIGE prep, separate preparative gel run for spot picking, in-gel digests, MALDI | 2D-DIGE with MALDI-TOF/TOF | ABI MALDI-TOF/TOF 5800 | Mascot ID (maybe Protein Pilot?) | 9 DE spots identified
56 | 1 | You J, Willcox MD, Madigan MC, Wasinger V, Schiller B, Walsh BJ, Graham PH, Kearsley JH, Li Y | Tear fluid protein biomarkers | Adv Clin Chem. 2013;62:151-96. | 10.1016/b978-0-12-800096-0.00004-4 | 24772667 | 24772667 | You | Li | 2013 | You_Li_2013 | NA | Book chapter review article | NA | NA | NA | NA | NA | NA | NA | NA
57 | 1 | Zhan X, Li J, Guo Y, Golubnitschaja O | Mass spectrometry analysis of human tear fluid biomarkers specific for ocular and systemic diseases in the context of 3P medicine | EPMA J. 2021 Dec 3;12(4):1-27. | 10.1007/s13167-021-00265-y | 34876936 | 34876936 | Zhan | Golubnitschaja | 2021 | Zhan_Golubnitschaja_2021 | NA | Review article, some nice color figures | NA | NA | NA | NA | NA | NA | NA | NA
58 | 1 | Zhou L, Zhao SZ, Koh SK, Chen L, Vaz C, Tanavde V, Li XR, Beuerman RW | In-depth analysis of the human tear proteome | J Proteomics. 2012 Jul16;75(13):3877-85. | 10.1016/j.jprot.2012.04.053 | 22634083 | 22634083 | Zhou | Beuerman | 2012 | Zhou_Beuerman_2012 | Okay? | So-so as a tear proteome characterization, technical replicates of pooled samples and limited SCX fractionation not so good, no relative abundance ranking of proteins - limited interpretation | NA | 4 healthy subjects, tears pooled | Schirmer's strip, no anesthetic | Protein extraction in buffer, in-solution trypsin digest, offline SCX separation (six fractions), 60-min RP final separattion, fractions ran in triplicate | Bottom up proteome characterization | ABI Triple TOF 5600 | Protein Pilot, human IPI DB, | 1543 total protein IDs
59 | 1 | Zhou L, Beuerman RW. | The power of tears: how tear proteomics research could revolutionize the clinic | Expert Rev Proteomics. 2017 Mar;14(3):189-191. | 10.1080/14789450.2017.1285703 | 28117610 | 28117610 | Zhou | Beuerman | 2017 | Zhou_Beuerman_2017 | NA | Very short review editorial | NA | NA | NA | NA | NA | NA | NA | NA
60 | 1 | Zhou L, Beuerman RW, Chan CM, Zhao SZ, Li XR, Yang H, Tong L, Liu S, Stern ME, Tan D | Identification of tear fluid biomarkers in dry eye syndrome using iTRAQ quantitative proteomics | J Proteome Res. 2009 Nov;8(11):4889-905. | 10.1021/pr900686s | 19705875 | 19705875 | Zhou | Tan | 2009 | Zhou_Tan_2009 | Poor? | 4-plex makes good experiment design hard, Q-STAR not very sensitive, dated methods | Dry eye disease | 28 dry eye and 20 conrols in discovery (iTRAQ) and same numbers in validation | Schirmer's strip, no anesthetic? | Proteins extracted from first 10mm of strip with buffer, iTRAQ protocol for tryptic digestion and labeling, iTRAQ (14 plexes) for discovery (odd use of control channels), iTRAQ validation used coomon control pooll in 114 with 3 DE per plex (8 plexes), 2D chromatography (10-fraction SCX then 85-min RP) | 4-plex iTRAQ labeling | ABI Q-STAR | ABI ProQUANT, human IPI DB, ratio-based quant analysis, protein inference and summary not clear, statistical analysis is confusing | 93 total protein IDs
Additional 20 papers:
1 | 1 | Acera A, Vecino E, Rodríguez-Agirretxe I, Aloria K, Arizmendi JM, Morales C, Durán JA | Changes in tear protein profile in keratoconus disease | Eye (Lond). 2011 Sep;25(9):1225-33. | 10.1038/eye.2011.105. Epub 2011 Jun 24 | 21701529 | 21701529 | Acera | Duran | 2011 | Acera_Duran_2011 | Poor | 2D-PAGE is very limited, MSe not very usable in these early days (only 27 proteins) | Keratoconus | 12 KC and 12 Controls, 6x6 used for 2D-PAGE and 6x6 for MSe | 10 microliter micropipettes | Standard 2D-PAGE prep for gel samples, Progenesis spot analysis, DE spot excised, in-gel digest, MALDI peptide mass finger printing; | 2D-PAGE and MSe label free | Bruker Ultraflex TOF/TOF, Waters SYNAPT HDMS | Progenesis spot analysis, MALDI peptide mass finger printing, Mascot; ProteinLynx software for MSe analysis, Swiss-prot human DB, ProteinLynx for quant | unknown ID numbers, 27 quantifiable proteins from MSe
2 | 1 | Chao C, Lattery L, Qin G, Kamat M, Basso K, Lakkis C, Hasan M, Richdale K | Tear Proteomics of Children and Young Adult Soft Contact Lens, Orthokeratology and Spectacle Wearers - A Pilot Study | Curr Eye Res. 2022 Mar 23:1-11. | 10.1080/02713683.2022.2047206 | 35317695 | 35317695 | Chao | Richdale | 2022 | Chao_Richdale_2022 | Poor | Single shot SpC is not sufficient for tear proteome, details of the quantitative analysis are insufficient | Children and young adult contact wearers | 12 children (4 subjects [2M and 2F] in soft, orthokeratology, and control goups) and 12 young adults (4 subjects in 3 groups) | Schirmer's strip, left eye, no anesthetic?, 5 min | Protein extraction in buffer, in-solution trypsin digest, single shot LC-MS/MS, top-10 method | Label-free SpC | Thermo Q-Exactive HF | SEQUEST and Peaks, Scaffold for SEQUEST results, Peaks studio | 1241 union of IDs over 24 LC runs
3 | 1 | Grus FH, Kramann C, Bozkurt N, Wiegel N, Bruns K, Lackner N, Pfeiffer N | Effects of multipurpose contact lens solutions on the protein composition of the tear film | Cont Lens Anterior Eye. 2005 Sep;28(3):103-12. | 10.1016/j.clae.2005.06.004. Epub 2005 Aug 11 | 16318840 | 16318840 | Grus | Pfeiffer | 2005 | Grus_Pfeiffer_2005 | Poor | SELDI-TOF is not a viable method | Affects of contact cleaning solution on tear proteome | Study 1: 3x20 subjects, study 2: 29 controls and 25 lens wearers, study 3: 2x15 | Schirmer's strip with anesthetic, first 10 mm processed | Proteins extracted in buffer, Ciphergen protocols | SELDI-TOF profiling | Ciphergen ProteinChip system | CiphergenExpress 2.1 software | This is tricky - numbers in paper are m/z values
4 | 1 | Jones G, Lee TJ, Glass J, Rountree G, Ulrich L, Estes A, Sezer M, Zhi W, Sharma S, Sharma A | Comparison of Different Mass Spectrometry Workflows for the Proteomic Analysis of Tear Fluid | Int J Mol Sci. 2022 Feb 19;23(4):2307. | 10.3390/ijms23042307 | 35216421 | 35216421 | Jones | Sharma | 2022 | Jones_Sharma_2022 | Okay? | Single shot LC not good for tear proteome, no difference between HCD and CID for ID rates, Top 50 table could be useful | Compares protein extraction/digestion methods for Schirmer's strips | 11 healthy subjects | Schirmer's strips, 5 min closed eye, no anesthetic | Compare buffer extraction, in-solution digestion to in-strip digestion, peptide extraction; single shot LC-MS/MS, |  | Thermo Orbitrap Fusion | Proteome Discoverer, SEQUEST, Percolator, spectral counting comparisons | Maybe 450-700, many low abundance proteins not seen across multiple samples, many keratin proteins in the top 50 list
5 | 1 | Kramann C, Boehm N, Lorenz K, Wehrwein N, Stoffelns BM, Pfeiffer N, Grus FH | Effect of contact lenses on the protein composition in tear film: a ProteinChip study | Graefes Arch Clin Exp Ophthalmol. 2011 Feb;249(2):233-43. | 10.1007/s00417-010-1456-0. Epub 2010 Jul 26 | 20658346 | 20658346 | Kramann | Grus | 2011 | Kramann_Grus_2011 | Poor | SELDI-TOF is not a viable method | Soft contacts versus gas permeable lens wearers | 13 subjects in each group (controls, soft, hard) | Schirmer's strips | Proteins extracted in buffer, Ciphergen protocols | SELDI-TOF profiling | Ciphergen ProteinChip system | Ciphergen ProteonChip and CiphergenExpress software | This is tricky - SELDI does not ID anything
6 | 1 | Lema I, Brea D, Rodríguez-González R, Díez-Feijoo E, Sobrino T | Proteomic analysis of the tear film in patients with keratoconus | Mol Vis. 2010 Oct 13;16:2055-61. |  | 21042560 | 21042560 | Lema | Sobrino | 2010 | Lema_Sobrino_2010 | Poor | 2D-PAGE not good wquantitative method and not good for wide dynamic range tear proteome | Keratoconus | 22 KC and 22 controls, 12 patients in each group used for 2D-PAGE (duplicate gels for each eye) | Schirmer's strip, 5 min closed eye, no anesthetic | Proteins extracted in buffer, acetone precipitation of proteins, 2D-PAGE protocols, image analysis gels used fluorescent dyes, prepatory gel for spot IDs | 2D-PAGE | ABI 4700 MALDI TOF/TOF | Mascot mass finger printing, NCBI or Swiss-Prot databases | 3 DE proteins IDed
7 | 1 | Li N, Deng XG, He MF | Comparison of the Schirmer I test with and without topical anesthesia for diagnosing dry eye | Int J Ophthalmol. 2012;5(4):478-81. | 10.3980/j.issn.2222-3959.2012.04.14. Epub 2012 Aug 18 | 22937509 | 22937509 | Li | He | 2012 | Li_He_2012 | Good? (no proteomics) | Compares w and w/o anesthestic Schirmer's strip collection | Dry eye disease | 110 patients | Schirmer's strip twice - without anesthetic and after proparacaine, both eyes | NA | NA | NA | NA | NA
8 | 1 | Loukovitis E, Kozeis N, Gatzioufas Z, Kozei A, Tsotridou E, Stoila M, Koronis S, Sfakianakis K, Tranos P, Balidis M, Zachariadis Z, Mikropoulos DG, Anogeianakis G, Katsanos A, Konstas AG | The Proteins of Keratoconus: a Literature Review Exploring Their Contribution to the Pathophysiology of the Disease | Adv Ther. 2019 Sep;36(9):2205-2222. | 10.1007/s12325-019-01026-0. Epub 2019 Jul 30 | 31363996 | 31363996 | Loukovitis | Konstas | 2019 | Loukovitis_Konstas_2019 | NA | Review article | Keratoconus | NA | NA | NA | NA | NA | NA | NA
9 | 1 | Ma JYW, Sze YH, Bian JF, Lam TC | Critical role of mass spectrometry proteomics in tear biomarker discovery for multifactorial ocular diseases (Review) | Int J Mol Med. 2021 May;47(5):83. | 10.3892/ijmm.2021.4916. Epub 2021 Mar 24 | 33760148 | 33760148 | Ma | Lam | 2021 | Ma_Lam_2021 | NA | Review article | NA | NA | NA | NA | NA | NA | NA | NA
10 | 1 | Nättinen J, Jylhä A, Aapola U, Enríquez-de-Salamanca A, Pinto-Fraga J, López-Miguel A, González-García MJ, Stern ME, Calonge M, Zhou L, Nykter M, Uusitalo H, Beuerman R | Topical fluorometholone treatment and desiccating stress change inflammatory protein expression in tears | Ocul Surf. 2018 Jan;16(1):84-92. | 10.1016/j.jtos.2017.09.003. Epub 2017 Sep 14 | 28918083 | 28918083 | Nattinen | Beuerman | 2018 | Nattinen_Beuerman_2018 | Okay? | Complicated trial design, complicated analysis using correlation of protein levels and clinical factors | Steroid treatment (0.1% fluorometholone) for dry eye disease | 41 subjects in double blind trial | Glass capillaries, single eye, 4 collections per patient over 22 days (baseline before and after treatments, at 21-day before and after adverse environment [low humidy and breeze]) | In solution trypsin digest, pathents with more than 6 microgras of protein per sample were processed (9 patients were excluded), single shot LC-MS/MS DIA | Single shot SWATH DIA label-free, samples ran in technical duplicates | ABI Triple-TOF 5600 | Protein Pilot (ABI) workflow, library based IDs (about 900 proteins), protein rollup required 5 transitions per peptide and 1-15 peptides per protein, manual checking of data, unique peptides only, proteins with missing values excluded, log2 intensities median scaled, ANCOVA modeling | 758 proeins IDed and quantified, very small numbers of DE proteins (experimental design and statistical analysis are complicated)
11 | 1 | Nichols JJ, Green-Church KB | Mass spectrometry-based proteomic analyses in contact lens-related dry eye | Cornea. 2009 Dec;28(10):1109-17. | 10.1097/ICO.0b013e3181a2ad81 | 19770725 | 19770725 | Nichols | Green-Church | 2009 | Nichols_Green-Church_2009 | Poor | PAGE methods are limited (poorer dynamic range, poor reproducibility, low throughput) | Contact lens induced dry eye | 21 contact wearer subjects (11 with DE and 10 controls) | Glass capillary, both eyes, 5 microliter (if possible) | Varies by method (as do numbers of samples), PAGE protocols look reasonable, | A variety of methods: 1D-PAGE, DIGE, 1D-PAGE bands excised, in-gel digestion, LC-MS/MS for IDs | Thermo LTQ linear ion trap | Mascot, few details | Hard to say, only DE bands/spots analyzed
12 | 1 | Nielsen K, Vorum H, Ehlers N, Aagaard N, Hjortdal J, Honoré B | Tear film proteins deposited on high water content contact lenses identified with two-dimensional gel electrophoresis and mass spectrometry | Acta Ophthalmol. 2015 Nov;93(7):658-62 | 10.1111/aos.12800. Epub 2015 Jul 23 | 26201859 | 26201859 | Nielsen | Honore | 2015 | Nielsen_Honore_2015 | Poor? | Proteins that adhere to contact lenses can be detected | Proteins deposited on hydrogel contact lenses | 3 healthy contact wearers, multiple lenses per patient | Contacts handled with gloves to reduce keratins | Proteins extracted in buffer, 2D-PAGE protocols, silver staining, spot excision, in-gel digestion, LC-MS/MS | 2D-PAGE | Waters Q-TOF Premier | Mascot, human Swiss-Prot DB | 12 proteins (72 gel spots), major proteins only
13 | 1 | Pieragostino D, Bucci S, Agnifili L, Fasanella V, D'Aguanno S, Mastropasqua A, Ciancaglini M, Mastropasqua L, Di Ilio C, Sacchetta P, Urbani A, Del Boccio P | Differential protein expression in tears of patients with primary open angle and pseudoexfoliative glaucoma | Mol Biosyst. 2012 Apr;8(4):1017-28. | 10.1039/c1mb05357d. Epub 2011 Nov 29 | 22124706 | 22124706 | Pieragostino | Del-Boccio | 2012 | Pieragostino_Del-Boccio_2012 | Poor | Methods not up to the task (limited proteome depth) | Primary opne angle and pseudoexfoliative glaucoma | Varies (5/5/4 [Ctrl/POAG/PXG] for LC-Mse, 8/7/9 for 1D-PAGE, 12/11/8 for MALDI-TOF), samples were pooled by group | Schirmer's strips, 5 min eye closed, no anesthetic | Proteins extracted in buffer, acetone precipitation, in-solution trypsin digest for LC-Mse, 150-min gradient, Q-TOF in MSe mode, technical triplicates; gel bands excised, in-gel trypsin digest, LC-MS/MS; some sort of MALDI profiling | LC-MSe label-free, validation with 1D-PAGE and also MALDI-TOF | Water Q-TOF Premier, Bruker Reflex IV MALDI-TOF, Waters micro Q-TOF (band and MALDI profiling IDs) | Protein Lynx (Waters), human Swiss-Prot DB, manufacturers recommended parameters, some quant-level filters; micro Q-TOF data analyzed with Mascot, human Swiss-Prot DB | Unknown, only DE proteins were reported, likely very modest number of proteins profiled
14 | 1 | Salvisberg C, Tajouri N, Hainard A, Burkhard PR, Lalive PH, Turck N | Exploring the human tear fluid: discovery of new biomarkers in multiple sclerosis. | Proteomics Clin Appl. 2014 Apr;8(3-4):185-94. | 10.1002/prca.201300053. Epub 2014 Mar 7 | 24488530 | 24488530 | Salvisberg | Turck | 2014 | Salvisberg_Turck_2014 | Poor | Questionable hypothesis, experimental design not so good, quant analysis and statistics not so good | Mutiple sclerosis (?) | 30 MS patients and 25 controls | Glass capillary, no anesthetic? [CSF and serum also collected] | In-solution trypsin digestion, TMT 6-plex labeling (2-plex TMT also described), off-gel fractionation, CID/HCD method | Tandem Mass Tags (TMT) | Thermo LTQ Orbitrap Velos | EasyProt pipeline, human UniProt DB, static mods for TMT, some kind of FDR, 2 peptides/protein, ratio based quant analysis | 185, 42 DE candidates (!)
15 | 1 | Sitaramamma T, Shivaji S, Rao GN | HPLC analysis of closed, open, and reflex eye tear proteins | Indian J Ophthalmol. 1998 Dec;46(4):239-45. |  | 10218308 | 10218308 | Sitaramamma | Rao | 1998 | Sitaramamma_Rao_1998 | Interesting (dated and no proteomics) | IgA goes down, lysozyme major protein, lactoferrin, lipocalin, lysozyme all increased in reflex tears | Protein changes in reflex tearing | Not stated, samples likely pooled to get sufficient protein | Glass capillary, no anesthetic; closed (immediately upon waking), open, and reflex tears collected |  | HPLC tracings and 1D-PAGE | NA | NA | NA
16 | 1 | Tse JS, Lam TC, Cheung JK, Sze YH, Wong TK, Chan HH | Data on assessment of safety and tear proteome change in response to orthokeratology lens - Insight from integrating clinical data and next generation proteomics | Data Brief. 2020 Jan 28;29:105186. | 10.1016/j.dib.2020.105186 | 32071970 | 32071970 | Tse | Chan | 2020 | Tse_Chan_2020 | Okay? (data set only paper) | Few changes with contact wearing over time, experimental design with sample pooling and technical replicates makes statistical analysis less confident | Evaluaiton of orthokeratology lens wear (after 1 month and 3 months) | 12 in contact group, 12 in control group; 4-subject tear pooling, 3 final pooled samples per group, 1-month | Disposable capillary (about 10 microliters of tear), no details about anesthetic use | In-solution trypsin digest, single shot analysis, 3-hr RP LC | DIA SWATH, peptide library for DIA matching | ABI triple TOF 6600 | ABI software for library analysis and building, ABI software for SWATH analysis and quant | 519 | PASS01367 (Peptide Atlas) NOTE: this is the data set for Tse_Chan_2021 paper
17 | 1 | Winiarczyk M, Kaarniranta K, Winiarczyk S, Adaszek Ł, Winiarczyk D, Mackiewicz J | Tear film proteome in age-related macular degeneration | Graefes Arch Clin Exp Ophthalmol. 2018 Jun;256(6):1127-1139. | 10.1007/s00417-018-3984-y. Epub 2018 Apr 25 | 29696386 | 29696386 | Winiarczyk | Mackiewicz | 2018 | Winiarczyk_Mackiewicz_2018 | Poor | 2D-PAGE not good for tears, experimental description (and hypothesis) are poor | Age-related macular degeneration | 22 patients (8 wet AMD, 6 dry AMD, 8 controls); not clear if samples were pooled per group | Schirmer's strip, 5 min, no anesthetic, open or closed eye not stated | Proteins extracted in buffer, 2D-PAGE protocols, silver staining, spot excision, in-gel digestion, MALDI TOF/TOF | 2D-PAGE | Bruker UltrafleXtreme MALDI-TOF/TOF | Mascot - combination of peptide mass fingerprinting and MS/MS IDs | Unclear, picked spots were probably DE spots only?, little overlap in DE spot IDs by group (this is bad if all spots excised)
18 | 1 | Winiarczyk M, Winiarczyk D, Michalak K, Kaarniranta K, Adaszek Ł, Winiarczyk S, Mackiewicz J | Dysregulated Tear Film Proteins in Macular Edema Due to the Neovascular Age-Related Macular Degeneration Are Involved in the Regulation of Protein Clearance, Inflammation, and Neovascularization | J Clin Med. 2021 Jul 10;10(14):3060. | 10.3390/jcm10143060 | 34300228 | 34300228 | Winiarczyk | Mackiewicz | 2021 | Winiarczyk_Mackiewicz_2021 | Poor | 2D-PAGE is not good for tear, not clear if tears were pooled per group (I don't think so) | Neovascular age-related macular degeneration | 30 patients (15 AMD and 15 controls) | Schirmer's strip, 5 min, no anesthetic, open or closed eye not stated | Proteins extracted in buffer, 2D-PAGE protocols, silver staining, spot excision, in-gel digestion, MALDI TOF/TOF | 2D-PAGE | Bruker UltrafleXtreme MALDI-TOF/TOF | Mascot - combination of peptide mass fingerprinting and MS/MS IDs | Unclear, picked spots were DE spots only
19 | 1 | Wong TT, Zhou L, Li J, Tong L, Zhao SZ, Li XR, Yu SJ, Koh SK, Beuerman RW | Proteomic profiling of inflammatory signaling molecules in the tears of patients on chronic glaucoma medication | Invest Ophthalmol Vis Sci. 2011 Sep 22;52(10):7385-91. | 10.1167/iovs.10-6532 | 21697136 | 21697136 | Wong | Beuerman | 2011 | Wong_Beuerman_2011 | Poor | Q-STAR is very low sensitivity, 4-plex iTRAQ not enough channels (too many plexes) | Long-term glaucoma treatment | 18 glaucoma and 10 controls | Schirmer's strip, no anesthetic, 5 min | Proteins extracted in buffer, iTRAQ labeling, controls pooled for 114 channel, 6 plexes used to handle the 18 glaucoma samples, SCX/PR chromatography (10 fractions), Q-STAR XL | iTRAQ labeling | ABI Q-STAR XL | ABI ProteinPilot, human IPI DB, ratio-based reporter ion analysis with ProteinPilot | 124 (not clear if this is union or intersection), 5 DE candidates
20 | 1 | Yenihayat F, Altıntaş Ö, Kasap M, Akpınar G, Güzel N, Çelik OS | Comparative proteome analysis of the tear samples in patients with low-grade keratoconus | Int Ophthalmol. 2018 Oct;38(5):1895-1905. | 10.1007/s10792-017-0672-6 | 28785876 | 28785876 | Yenihayat | Celik | 2017 | Yenihayat_Celik_2017 | Poor | DIGE (or any 2D-PAGE) method not good for tears | Low-grade keratoconus | 17 patients and 16 controls, samples pooled per group | Glass capillary, no anesthetic | DIGE protocols, gels run twice, preparative gels run for spot picking, in-gel digestion, MALDI TOF/TOF | DIGE | ABI MALDI TOF/TOF 5800 | ProteinPilot and Mascot | DE spots analyzed only, 9 DE proteins (2 keratins)

## ReadMe
Column Key:
Column | Header | Description
A | Series | Sequencial numical column
B | Counter | Column of ones for row counting
C | Authors | List of authors
D | Title | Article title
E | Journal | Journal details
F | DOI | Digital Object Identifier
G | PubMed | PubMed identifier
H | PubMed Link | Link to PubMed
I | First | First author's last name
J | Last | Last author's last name
K | Year | Publication year
L | PDF Name | Local PDF file name of paper
M | Impression | My personal impression of study relevance in 2022
N | Summary | Some of my thoughts summarizing the paper
O | Disease | What disease the study addressed
P | No. Subjects | Number of human subjects in the study
Q | Collection Method | Tear collection method description
R | Sample Prep | Tear sample processing steps
S | Proteomics Design | Summary of proteomics methods used
T | Instrument | Mass spectrometer used
U | Data Analysis | Summary of data analysis methods (this is my area of interest)
V | No. Proteins | Number of proteins identified and compared in the study